M.Tech II Semester Regular Examinations September, 2010

HIGH VOLTAGE DC TRANSMISSION

(ELECTRICAL POWER SYSTEMS)

- a) State and relative merits of AC and DC transmission. And mention the applications of DC transmission.

b) Discuss about different types of HVDC links that are generally used

- Explain about HVDC converter station and its components for HVDC transmission system. Discuss about modern trends in DC transmission system

- For a 3- phase, 6- pulse Gretz’s circuit, draw the timing diagram, considering overlap angle less than 600 and without overlap for the following.

- Voltage across load

- Voltage across any two pairs of the conduction valves.

- Show the rating f the valve used in Gretz’s circuit is 2.094 pd. Where pd is the DC power transmitted. Explain the effect of overlap angle on the performance of converter circuit.

- State different control schemes adopted for HVDC converter systems. Explain the operatin of equidistance pulse control scheme.

- Derive an equation for harmonic voltage and current for single tuned filter and discuss the influence of network on design aspects

- Compare simultaneous and sequential methods of power flow analysis. Draw the flow chart for AC-DC load flow and explain.

- Write short  notes on

- DC circuit breakers

- 12- Pulse converter unit.