M 048

MODEL PAPER

B.Tech. DEGREE EXAMINATION.

Fourth Semester

Chemical Engineering

CH 245 — INSTRUMENTAL METHODS OF ANALYSIS

Time : Three hours	Maximum : 100 marks

Answer ALL the questions.

PART A — (10  2 = 20 marks)

- What is electrochemical cell?

- What is Saccharimetry?

- What is molecular spectra?

- What is a colorimeter?

- Define electro magnetic force (e.m.f.)

- What is decomposition potential?

- Name any four liquid stationary phase used in GLC.

- Write relationship between atomic number and wave length in XRD.

- What is Elution and Eluent in Chromatographic techniques?

- Define Ohms law.

PART B — (5  16 = 80 marks)

- Discuss the principle, instrumentation and application of AAS.	(16)

- (a)	(i)	Write note on GPC.			(6)

- (ii)	Discuss the principle and applications of Polarimeter.	(10)

Or

- (b)	(i)	Explain the advantages of DSC over DTA.	(6)

- (ii)	Write brief notes on :

- (1)	Phase.			(2)

- (2)	Chemical equilibrium.		(4)

- (3)	System.			(4)

- (a)	Write brief notes on :

- (i)	Polarimeter.			(4)

- (ii)	Analyzer.			(4)

- (iii)	Plane Polarized Light.			(4)

- (iv)	Dextro Rotatory.			(4)

Or

- (b)	Calculate the expected maximum wave length of absorption for the following compounds in alcohol based on Woodward’s rule.

(i)

(ii)

- (a)	What are the various instrumental factors and samples characteristics that affect the shape of the thermogram.

Or

- (b)	(i)	Write the applications of UV–Visible spectrometry.	(6)

- (ii)	Write any one method to determine the pH of a solution.	(10)

- (a)	(i)	Explain the theory of X–ray spectroscopy.	(6)

- (ii)	What are all the applications  of X ray powder crystal method?	(10)

Or

- (b)	Make use of IR spectroscopy to distinguish between the following two compounds.

(i)

(ii)

———————