ANNA UNIVERSITY :: CHENNAI – 600 025

MODEL QUESTION PAPER

# VI - SEMESTER

# B.TECH. CHEMICAL ENGINEERING

# CH342 - PROCESS INSTRUMENTATION DYNAMICS AND CONTROL

Time: 3hrs				                            		Max Marks: 100

Answer all Questions

PART – A (10 x 2 = 20 Marks)

1.	Name different types of forcing function and their graphical representation.

- What is amplitude ratio and give the equation to calculate the same for sinusoidal response.

- What do you mean by transportation lag and give an example.

- Compare interacting and non-interacting systems.

- Draw the graphical representation for phase and gain margins.

- Explain the concept of stability.

- What is (i) decay ratio, (ii) response time.

- What is cross over frequency in stability criterion of Bode diagram.

- List the applications of Mass spectrometer.

- Name any two instruments used for moisture analysis.

PART - B (5 x 16 = 80 marks)

## Question 11 is compulsory

11.	Solve the following using Laplace transforms

i)	4d2xdt2+gdxdt+2x=2given	x0=x'(0)=0			(8)

ii)	dxdt=0tX(t)dt−1 given X(0) = 3.					(8)

12.a)	Write a transfer function for two first order identical systems connected in series in non-interacting manner and obtain the transient response for an unit step disturbance.

(OR)

- From the fundamentals develop a transfer function for a U-tube mercury manometer.

13.a)i)	Determine the stability by routh criterion

S4+3S3+5S2+4S+2=0						(10)

ii)	Explain the theorems of routh test and its limitations.			(6)

(OR)

13.b)	A proportional Controller is used to control two non-interacting first order system having time constant τ1=1 and τ2=0.5. Sketch the root locus diagram. Assume unity feedback control system.

14.a)	Compare different types of control actions and explain in detail how they are selected.

(OR)

- Explain the dynamics and control of a shell and tube heat exchanger in detail.

15.a)	Discuss the principle of measurement and classification of Process Control instrument with respect to.

- Temperature

- Pressure

- Fluid flow and

- Composition					     (4 x 4 = 16 marks)

(OR)

15.b)	Write notes on the following.

i)	Density measurement of flowing fluids.			(6)

ii)	I-R Spectrometer. 						(5)

iii)	Ziegler – Nichols optimum controller settings.		(5)

-----